## Slide 1: Introduction to Magnetic Resonance Imaging

## Slide 2: Schedule for the Day
10:15 – 11:00 Intro to fMRI
11:00 – 11:30 Intro to Data Analysis
11:30 – 12:30 Scan 2 students
12:30 – 1:30 Lunch
1:30 – 3:00 Hands-on data analysis
3:00 – 4:00 VBM/DTI/CT

## Slide 3: OUTLINE
I. Practical considerations for a subject visit
II. Taking measurements
III. Data analysis and presentation

## Slide 4: OUTLINE
I. Practical considerations for a subject visit
II. Taking measurements
III. Data analysis and presentation

## Slide 5: Practical Considerations
- Confined space
- Have to lie VERY still for a long time
- NO METAL (well, a very minimum)
- Very loud
- Repetitive task
But we get cool pictures of your brain in action!

## Slide 6: IT'S A CONFINED SPACE

## Slide 7: YOU HAVE TO LIE VERY STILL

## Slide 8: NO METAL!!!

## Slide 9: DANGERS OF MRI

## Slide 10: IT'S VERY LOUD

## Slide 11: IT'S A REPETITIVE TASK
Notes: from Wishart, et al. “Increased Brain Activation During Working Memory in Cognitively Intact Adults With the APOE ε4 Allele” Am J Psychiatry 2006;163:1603-1610.

## Slide 12: BUT WE GET COOL BRAIN PICTURES!

## Slide 13: OUTLINE
I. Practical considerations for a subject visit
II. Taking measurements
III. Data analysis and presentation

## Slide 14: Physiological Measures - MRI
+
N
S
A moving charge creates a current, a current creates a magnetic field (and vice versa)
Protons spin and have angular momentum
This also gives them a magnetic moment
Think of brain as bulk matter with anisotropic distribution of magnetic moments (from H20 atoms)

## Slide 15: Physiological Measures - MRI
+
N
S
A moving charge creates a current, a current creates a magnetic field (and vice versa)
Protons spin and have angular momentum
This also gives them a magnetic moment
B
o
Mo
An externally applied magnetic field will
align the net magnetic moment in it’s own direction. Ions are still spinning – but out of phase with each other.

## Slide 16: Physiological Measures - MRI
Protons spin and have angular momentum
This also gives them a magnetic moment
B
o
Mo
An externally applied magnetic field will
align the net magnetic moment in it’s own direction. Ions are still spinning – but out of phase with each other.
B0
+

## Slide 17: Physiological Measures - MRI
Protons spin and have angular momentum
This also gives them a magnetic moment
B0
+
Notes: The angular frequency equals the gyromagnetic ratio times the magnetic field strength for a given nuclear isotope (e.g., hydrogen nucleus).
So we KNOW which type of atom at which we are looking given a particular field strength because it has a singular angular frequency, its Larmor Frequency.

## Slide 18
* Align phases with a transient RF pulse at Larmor frequency. This tips over the atoms so that the magnetization is now in the x-y plane (transverse).
* After RF pulse is removed, we measure the decay of the transverse magnetization (T2) and increase in the longitudinal magnetization (T1).
* Relaxation emits radiation that we can use to measure proton density and magnetic field inhomogeneities (i.e. T2*, BOLD).
x
y
z
Physiological Measures - MRI

## Slide 19: Measuring EM Radiation
TR
Time between RF pulses
TE
Time of measurement
(relative to TR)

## Slide 20: MRI Signal :: T1 and T2 Relaxation

## Slide 21
Tissue Contrast Dependence on TR, TE
PDW
T1
poor!
T2
TE milliseconds
TR (seconds)

## Slide 22: Oxygenated hemoglobin is diamagnetic (little distortion) Deoxygenated hemoglobin is paramagnetic → signal dropout
Blood Oxygen Level Dependent Imaging
(BOLD)
T2* :: Measuring Signal Inhomogenities
Notes: Magnetic field around a cylinder oriented perpendicularly to the external static field containing 0%, 10%, and 30% deoxyhemoglobin. The susceptibility between inside and outside the cylinder was taken to be the same at 0% deoxyhemoglobin. The field magnitude is represented as a three dimensional plot.
Oxygenated hemoglobin is diamagnetic (less signal dropout).
Deoxygenated hemoglobin is paramagnetic (gives you signal dropout).
The signal dropout is caused by shorter T2 times; the precession angle of the hydrogen protons in that physical environment disperses more quickly.

## Slide 23: BOLD Effect
Notes: Oxygenated hemoglobin is diamagnetic (less signal dropout).
Deoxygenated hemoglobin is paramagnetic (gives you signal dropout).
Blood flow increases in response to neural activity and provides an increase in oxygenated hemoglobin greater than the increase in deoxygenated hemoglobin → the environment becomes more diamagnetic → there is less signal dropout → the image in that location appears brighter.

## Slide 24: HDR (Hemodynamic Response) HRF (Hemodynamic Response Function)
Change in MR signal related to neuronal activity
Initial dip (not always seen; need to scan very fast)
Rise delayed by 1-2 sec after activity
5-6 sec time to peak
Under/overshoot follows ~6s after peak
Adds linearly with stimulus duration (in most cases)
Notes: *
We are measuring a physiological response to neuronal activity: the local changes in blood oxygenation ratio. This is why fMRI is said to be an “indirect” measurement of neuronal activity. The timescale of the hemodynamic response limits the temporal resolution of fMRI.
If the stimuli occur <3sec apart, the HRF adds sublinearly.

## Slide 25: BOLD vs Neuronal Activity
- Recorded LFP, MUA, SUA, and BOLD simultaneously
- BOLD response best explained by changes in LFP
- BOLD reflects “incoming input and local processing rather than spiking activity”
- ”The BOLD contrast mechanism directly reflects the neural responses elicited by a stimulus.”
Logothetis, et al. (2001) Nature, 412:450-57
Notes: *
Stimulus duration varied from a) 24s, b) 12s, c) 4s
This is imilar to the summation of activity seen in EEG recordings, based on dedrosomatic (incoming) neural activity.

## Slide 26: What is a voxel?
* RF pulse limited to a single slice at a time at coordinate z.
* Each slice is a landscape where each x, y coordinate corresponds to a unique frequency of relaxation (due to a gradient magnetic field).
* Fundamental limit of MRI resolution

## Slide 27: How to get position information?
Notes: The amplitude of the signal determines how bright our image will be.

## Slide 28: LOCALIZING MAGNETIZATION
We can
Excite only the protons in the desired slice (z-direction)
Encode x-direction with different frequencies
Encode y-direction with different phases
Read out amplitude at each frequency and phase

## Slide 29: LOCALIZING MAGNETIZATION
We can
Excite only the protons in the desired slice (z-direction)
Encode x-direction with different frequencies
Encode y-direction with different phases
Read out amplitude at each frequency and phase

## Slide 30: LOCALIZING MAGNETIZATION
Select a z-direction slice

## Slide 31: LOCALIZING MAGNETIZATION
We can
Excite only the protons in the desired slice (z-direction)
Encode x-direction with different frequencies
Encode y-direction with different phases
Read out amplitude at each frequency and phase

## Slide 32: LOCALIZING MAGNETIZATION USING GRADIENTS (Nobel Prize Winning Idea!) Effect of a Gradient
Notes: Paul Lauterbur and Peter Mansfield.
The change from B0 is small, maybe up to 1%, but it is enough to induce a measurable change in the rate of precession of protons.

## Slide 33: Prior to Gradient
Col 1
Col 2
Col 3
Uniform Field
Uniform Field

## Slide 34: Gradient Applied
Col 1
Col 2
Col 3
Lower Field
Higher Field

## Slide 35: LOCALIZING MAGNETIZATION
We can
Excite only the protons in the desired slice (z-direction)
Encode x-direction with different frequencies
Encode y-direction with different phases
Read out amplitude at each frequency and phase

## Slide 36: Prior to Gradient
Row 1
Row 2
Row 3
Uniform Field
Uniform Field

## Slide 37: Gradient Applied
Row 1
Row 2
Row 3
Lower Field
Higher Field

## Slide 38: Gradient Turned Off
Row 1
Row 2
Row 3
Uniform Field
Uniform Field

## Slide 39: LOCALIZING MAGNETIZATION
We can
Excite only the protons in the desired slice (z-direction)
Encode x-direction with different frequencies
Encode y-direction with different phases
Read out amplitude at each frequency and phase

## Slide 40: Sum Corresponds to Received Signal
+
+
Row 1, Col 1
Row 2, Col 2
Row 3, Col 3

## Slide 41: § Measurements in Cognitive Neuroscience
Physiological measures – MRI: variations on a theme
BOLD
Cortical Thickness
VBLM
DTI
T1
T2
Notes: Biological substrates – are they sufficient for a particular cognitive function? Answer this with morphometric and functional techniques.

## Slide 42: OUTLINE
I. Practical consideration for a subject visit
II. Taking measurements
III. Data analysis and presentation

## Slide 43: DATA ANALYSIS and PRESENTATION

## Slide 44: Preprocessing
Slice Time Correction -
slices acquired at different times
statistical analysis is easier if we can model every slice within a volume as being acquired at the same time

## Slide 45
Realignment
subjects move
statistical analysis is performed on a voxel-by-voxel basis
time
Preprocessing

## Slide 46
Normalization -
can reference a standard atlas
warping everybody’s head to the same atlas space allows for group analyses
Preprocessing

## Slide 47
Smoothing -
removes spatial noise
ensures parametric statistical conditions are met
Preprocessing

## Slide 48: DATA ANALYSIS

## Slide 49: Correlation/Regression
1) Model a representative waveform representing the on-off periodicity of the design convolved with HRF.
2) Correlate MRI signal change in each voxel, across all scans, with the model.

## Slide 50: DATA PRESENTATION
Statistical parametric map, corrected for multiple comparisons.
“Glass Brain” Overlay on structural

## Slide 51: Expected Results for N-Back Task
- Lateral and medial premotor cortex
- Lateral and medial posterior parietal cortex
- Dorsolateral and ventrolateral prefrontal cortex
- Frontal poles
Owen, et al. (2005) Human Brain Mapping, 25:46-59

## Slide 52
Let’s go scanning...